**LOCAL LIMITS**

The Superintendent is authorized to establish Local Limits pursuant to 40 CFR 403.5(c).

The following pollutant limits are established to protect against Pass Through and Interference. No person shall discharge wastewater containing in excess of the following daily Maximum Concentrations.

2.19 mg/l aluminum

34.8 mg/l ammonia Nitrogen

0.008 mg/l arsenic, total (revised July 2013)

300.0 mg/l BOD5

0.001 mg/l cadmium, total

0.613 mg/l chromium, total

0.318 mg/l copper, total

0.110 mg/l cyanide

0.00126 mg/l lead, total

0.08 mg/l mercury, total

0.238 mg/l nickel, total

8.97 mg/I phosphorus, total

0.055 mg/l selenium, total

0.002 mg/l silver, total

420.0 mg/l total suspended solids

0.173 mg/l zinc, total

6.0 to 12.0 S.U. pH

The above limits apply at the point where the wastewater is discharged to the POTW. All concentrations for metallic substances are for total metal unless indicated otherwise. The Superintendent may impose mass limitations in addition to the concentration‑based limitations above.